When program starts, automatically connect to Tescan SEM (127.0.0.1), fetch all items from API and populate UI.

UI Display Components:

- Microscope Info:

  - Label box for Manufacturer

  - Label box for Model

  - Label box for Serial

  - Label box for Software version

  - Label box for Protocol version.

- Vacuum:

  - Label box for Vacuum Status

  - Label box for Chamber Pressure

- Detector selection:

  - Drop-down for available detectors (detector number and name)

- Beam:

  - Label box for Beam State

  - Editable Number box for High Voltage

  - Drop-down for Probe Current Indexes (index and current)

  - Editable Number box for Beam current

  - Label box for Absorbed Current

  - Editable Number box for Working Distance

- Scanning Modes:

  - Drop-down for scanning modes (number, and name)

  - Label box for Pivot Position

- Geometries:

  - Image Shift

    - Editable number boxes for X and Y

    - Label boxes for range of X and range of Y)

  - Image Rotation

    - Editable number box for X

    - Label boxes for range of X values

- Stage Position:

  - Label box for Stage Calibrated state

  - Label box for Sage Busy state

  - Editable Number boxes for X, Y, Z, R, Tx

- View Field Width:

  - Editable Number box in mm

- Scanning:

  - Scan Speeds (drop-down)

  - Scan speed in us/pixel (number box)

  - Button to collect an image

  - Image display

- Connect/disconnect

  - Button to connect/disconnect

  - Label box for Connection status

- Refresh button (get all settings from the SEM)